## Sheet1
Voltages (RMS) | In Volts | In Metering Units |  | Real Power | In Watts |  | Real Energy | In Joules
A | 831 | 1C8 |  | A | 801 |  | A | 8C1
B | 832 | 2B4 |  | B | 802 |  | B | 8C2
C | 834 | 3A0 |  | C | 804 |  | C | 8C4
Harmonics | 830 | ? |  | Total | 807 |  | Total | 8C7
Currents (RMS) | In Amps | In Metering Units |  | Reactive Power | In VAR |  | Reactive Energy | In Joules
A | 841 | 1CC |  | A | 811 |  | A | 8D1
B | 842 | 2B8 |  | B | 812 |  | B | 8D2
C | 844 | 3A4 |  | C | 814 |  | C | 8D4
Harmonics | 840 | ? |  | Total | 817 |  | Total | 8D7
Harmonic / Auxilliary Channel Register |  |  |  | Apparent Power | In VA |  | Apparent Energy | In Joules
010 |  |  |  | A | 821 |  | A | 871
|  |  |  | B | 822 |  | B | 872
|  |  |  | C | 824 |  | C | 874
|  |  |  | Total | 827 |  | Total | 877
Calibration
Voltages |  |  | Currents |  |  | Power
Gain A | 132 |  | Gain A | 130 |  | Conversion | 018
Gain B | 21E |  | Gain B | 21C
Gain C | 30A |  | Gain C | 308
Conversion | 014 |  | Gain N | 12E
|  |  | Conversion | 016