## Slide 1
 | A | B | C | N | Total
RMS Voltage |  |  |  | - | -
RMS Current |  |  |  |  | -
Power (Apparent/Real/Reactive) |  |  |  | - | 
Line Frequency |  |  |  | - | 
Power Factor (Real over Reactive) |  |  |  | - | -
Voltage Phasor Angles |  |  |  | - | -
Current Harmonics | Filter problem in the chip? |  |  |  | 
Voltage Harmonics |  |  |  |  | 
Current THD |  |  |  |  | 
Fundamental Powers |  |  |  |  |