## Slide 1: Power Monitor - Hardware
Pak Lam (Jack) Yung

## Slide 2: Power Monitoring System

## Slide 3: Hardware Design
PCB Design (2x)
Packaging
Testing
Installation

## Slide 4: One Year Ago

## Slide 5: Summer 2012

## Slide 6: Spring 2013

## Slide 7: First Circuit
Noise
Not safe
Unstable
Cheap

## Slide 8: First PCB
Low Noise
Safe
4 layer
$219.9 – 4 piece
$55 per piece
Order from express PCB (Free Software)
http://www.expresspcb.com/

## Slide 9: 4 layer PCB

## Slide 10: 4 Layer
Top: N+
2nd: Digital Ground
3rd: Analog Ground
Bottom: ~3V

## Slide 11: One Mistake for the first PCB
R51 Right Hole
should Not connect
to top layer (N+)

## Slide 12: Circuit

## Slide 13: Circuit

## Slide 14: Circuit

## Slide 15: Circuit

## Slide 16: Component
Arduino Uno Board
Wifly Shield
CT
Resistors, Capacitor
Optopcoupler
Maxim Chip
Stackable Header
Crystal Oscillator
Voltage Regulator 5v to 3v
Transformer AC to DC

## Slide 17: Where to Buy Them ?!
http://www.sparkfun.com/products/10007
https://shop.maximintegrated.com/storefront/priceavailable.do?Partnumber=MAXQ3183-RAN%252B&event=PartSearch&menuitem=PriceAndAvailability#
http://www.digikey.com/product-detail/en/6N137/160-1791-ND/1969175
http://www.digikey.com/product-detail/en/EPS090066-P5P/T980-P5P-ND/1016856
http://www.digikey.com/product-detail/en/LP2950-33LPRE3/296-31455-1-ND/3505910
http://www.newegg.com/Product/Product.aspx?Item=N82E16833998117
https://www.sparkfun.com/products/9954

## Slide 18: PCB 2
Same components
BUT used Arduino Mage and added Thermal Sensor
Bigger size
Still 4 layer, circuit design is about the same.
6 piece for $430.99
Each board is 72
Express PCB

## Slide 19: Circuit Power
120 AC to 9v and 5v DC
9v Goes to Anduino, 5v goes to regulator and change to 3v.
3V power the chip and Optopcoupler

## Slide 20: Circuit Power

## Slide 21: Packaging
Size measurement, purchase, installation

## Slide 22: Box 1 – Hopeman Building

## Slide 23: Box 2

## Slide 24: Testing
After building and soldering the board, run the sample code, get same reading. Let it run in the lab for few days and make sure it is safe to use (High voltage !!!)

## Slide 25: Installation

## Slide 26: Installation

## Slide 27: Installation

## Slide 28: Inventory
Arduino Uno Board X3
Arduino Mage x1
PCB V1 x2
PCB v2 x5 (un soldered)
Wifly Shield X2
CT x 9
Resistors, Capacitor (Workshop)
Optopcoupler x24
Maxim Chip x5
Stackable Header x6 sets
Crystal Oscillator x4
Voltage Regulator x5
Transformer AC to 9 DC x3
Box x2 (1 big and 1 small)
Antenna x2
Laptop x1